## Slide 1: THz generation Yamanouchi laboratory
2018/06/29

## Slide 2: Outline
Applications
Experiment purpose
EO sampling
Mechanism of optical rectification
Optical setup
Data
Conclusion

## Slide 3
Generation of THz radiation
Electro optical sampling
Measurement of THz power
Purpose of work

## Slide 4
THz-assisted electron diffraction
Electron streaking
DOI: 10.1117/2.5200405.0005
TAES
Finish it!

## Slide 5
In the far field
Velocity phase matching：
[1] http://qcmd.mpsd.mpg.de/index.php/Broadband-Time-resolved-terahertz-spectroscopy.html
[2] H A Hafez et al 2016 J. Opt. 18 093004
THz generation
Optical rectification

## Slide 6
*http://www.f.waseda.jp/washiom/research_eo.html
Oscilloscope measurements
From the following equation
ETHz can be evaluated as 0.93063 kV/cm
#What is expected value!?!
#Check again these calculations
EO sampling
Alleged reason for this outcome is badly focused and collimated THz beam
Bad result of
THz measurement

## Slide 7
( Yi Chiu et al., Opt. Express 15, 6367-6373 (2007))
Scanning knife edge  THz beam size
 more accurate collimation and focusing
Diffraction limit
The THz beam expansion was necessary to focus beam on the smallest spot
and the new parabolic mirror was bought for that purpose
Analysis of the
result
Estimated THz field increase:

## Slide 8
Yb laser parameters:
λ = 1030 nm
Ppulse = 6 W – 20 W
Electric field?
Δτ ＝ 1.2 ps
Rep. rate ＝ 100 kHz
THz beam properties:
Previous setup THz beam size ~ 10 mm
Current setup THz beam size ~ 20 mm
Power efficiency ~ 10-4
The parabolic mirror (show which) was changed to increase THz beam size and get higher
resolution according to the expression
To introduce THz radiation to the chamber, the optical path (show which) should be
prolonged and this procedure was implemented
Optical setup

## Slide 9
THz radiation has been generated
EO sampling results showed inappropriate THz beam properties
THz setup has been changed to get higher diffraction limit
Measurement of THz radiation power has been performed
Conclusion

## Slide 10: THz detection EO sampling
Intensity difference without THz
Intensity ratio with THz